SNAP SWITCHES

Comply with NEMA WD 1, UL 20 and Federal Specification W-S-896.  Constructed from chemical and impact-resistant thermoplastics, nickel-plated mounting strap, and solid brass contacts.  Single-piece toggle is made of chemical-resistant thermoplastics.  Catalog numbers in subparagraphs below are for 20-A devices; revise catalog numbers if 15-A devices are desired.

Illuminated, 20 A:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 01 Section "Product Requirements."

Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Products:  Subject to compliance with requirements, provide one of the following:

Pass & Seymour; PS20AC1IL.

<Insert manufacturer's name; catalog numbers.>

Description:  Single pole, with neon-lighted handle, illuminated when switch is "ON."