# Certification Record

| File No: | 063938-C-000 | Agreement Status: | ACTIVE |  |  |
| --- | --- | --- | --- | --- | --- |
| Class No: | 5311-05 |  |  |  |  |
|  | POWER SUPPLIES Stand-alone |  |  |  |  |

SUBMITTOR
(Contact: 4509998)
American Power Conversion Corp.
85 Rangeway Rd Bldg 2
North Billerica, MA 01862
USA

FACTORY
(Contact: 4509997)
American Power Conversion Corp.
P.O. Box 278, 132 Fairgrounds Rd
West Kingston, RI 02892
USA

FACTORY
(Contact: 4551478)
ACT Manufacturing Inc.
1801 Fulton Dr
Corinth, MS 38834
USA

FACTORY
(Contact: 4552195)
American Power Conversion Corp.
40 Catamore Blvd
East Providence, RI 02914
USA

FACTORY
(Contact: 4552196)
American Power Conversion Corp.
Cavite Facility
2nd ST. Cavite EPZA
Rosario Cavite, 
Philippines

FACTORY
(Contact: 4552197)
American Power Conversion Corp.
Laguna Facility
Lot 32 Phase 1 Carmelray
Industrial Park Canlubang Calamba
Laguna, 
Philippines

FACTORY
(Contact: 4552199)
American Power Conversion Corp.
Main Ave EPZA
Rosario Cavite, 
Philippines

FACTORY
(Contact: 4557343)
Electronic Assemblies, Incorporated
Lot 2 Blk 1 Solid St
Blossoms Estate Compound
Laguna Int'l Indl Park Mamplasan
Binan, Laguna, 
Philippines

FACTORY
(Contact: 4641707)
American Power Conversion
Lot 3 Block 14, Phase III
Cavite Export Processing Zone
Rosario
Cavite, 
Philippines

FACTORY
(Contact: 4651102)
STMicroelectronics S.r.l.
Km 17 BP 71
Bouekoura, 20180
Morocco

FACTORY
(Contact: 4656698)
APC India
No. 187/3 & 188/3 Jigani Village
Jigani Hobli
Anekal Taluk
Bangalore District, 562106
India

Noember 9, 2001 (Replaces: October 26, 2001)

UNINTERRUPTIBLE POWER SUPPLIES, CORD CONNECTED, FOR USE IN CONTROLLED ENVIRONMENTS:

- Models 110SE, D-110, input 120V, 60Hz, 180VA; output 120V, 60Hz, 90W max.

- Models 200DL, PR200, D-200, UP902, input 120V, 60Hz, 3A; output 120V, 60Hz, 1.7A, 140W max.

- Model 330XT+, 932-4, 8850, 61301, SPS300, SPS330A, EE330, input 120V, 60Hz, 360VA, output 120V, 60Hz, 2.5A max.

- Models 360SX, UP903, PR360, 61306, EE360, D-360, input 120V, 60Hz, 600VA; output 120V, 60Hz, 3A max.

- Models 450AT+, UP945, 942-4, 8851, 61302, SPS450, 450VA, SPS450A, EE450, PR450, D-450, input 120V, 60Hz, 600VA; output 120V, 60Hz, 3.8A max; 800RT, PR800, 982-4, 8852, 61304, SPS800, 800VA, AE800, EE800, 908-15, 908-16 and D-800, -800RM, PR800RM, input 120V, 60Hz, 12A; output 120V, 60Hz, 600W max.

- Models 520ES, UP905, PR520, EE520, 520VA, 61303, D-520, input 120 V, 60 Hz, 600 VA; output 120 V, 60 Hz, 4.5 A max.

- Models 1200VX, PR1200, 913-4, 8853, 61305, SPS1200, 1200VA, AE1200, EE1200, 912-15, 912-16 and D-1200 -1200RM, PR1200RM, input 120V, 60Hz, 12A; output 120V, 60Hz, 1000W.

- Models 600LS, PR600, EE600, D600 or UP906, SMART UPS 600, SMART UPS 600RM, CS-600R, input 120V, 60Hz, 7A; output 120V, 60Hz, 5A, 400W max.

- Models 370 ci and SMART UPS 400, SU400NET, PR400, D-400S, UP904, input 120V, 50/60Hz, 4A, output 120V, 50/60Hz, 250W; SMART UPS250, SU250NET, input 120V, 50/60Hz, 3A; 120V, 50/60Hz, 175W output.

- Models SMART UPS 900, 900RM, D-900, D-1250, UP9125, 1250, 1250RM, CS-1250R, UP909, 900XL, 900XLRM, input 120V, 50/60Hz, 10.5A, output 120V, 50/60Hz, 630W for Models 900, D-900, and 900W for Models 1250, D-1250.

- Models SMART UPS 2000, 2000RM, 923-4, UP92000, D-2000, 2000-1, 2000RM-1, 2000-2, 2000RM-2, 2000-3, 2000RM-3, input 120V, 50/60Hz, 16A, output 120V, 50/60Hz, 1500W.

- Models BACK UPS 200 or PowerCell Personal 10, 250, 280, 360, 400, 450, 520, 600, 900 and 1250, input 120V, 50/60Hz and 2A, 3A, 3A, 5A, 5A, 5A, 7A, 7A, 12A, 12A respectively, outputs 120V, 50/60Hz and 130W, 170W, 180W, 240W, 250W, 300W, 360W, 400W, 630W and 900W respectively.

- Model SMART UPS 400I-X38, input 120V, 50/60Hz, 4A, output 120V, 50/60Hz, 250W. Certified as a component for use in Beckman Instruments, Model Synchron CX7.

- Power UPS250, 400 or PowerCell Personal 20T, 600, input 120V, 50/60Hz and 3A, 5A, 7A respectively, outputs 120V, 50/60Hz and 170W, 250W and 400W respectively.

- Models UP902, UP903, UP945, UP905, input 120V, 50/60Hz and 3A, 5A, 5A, 7A respectively; outputs 120V, 50/60Hz and 170W, 250W, 300W, 400W respectively.

- Models 61402, 61403, 61404, input 120V, 50/60Hz and 3A, 5A, 7A respectively; outputs; 120V, 50/60Hz and 170W, 250W, 400W respectively.

- Models PRK250, PRK400, PRK450, PRK600, PRK900, PRK1250, input 120V, 50/60Hz and 3A, 5A, 5A, 7A, 12A, 12A respectively; outputs 120V, 50/60Hz and 170W, 750W, 300W, 400W, 630W, 900W respectively.

- Models SMART UPS 2000M, 2000RM, 2000M-1, 2000MRM-1, 2000M-2, 2000MRM-2, input 208V, 50/60Hz, 12A, output 208V, 50/60Hz, 1500W.

| Model | Input | Output |
| --- | --- | --- |

| UP702 | 120V, 50/60Hz, 3A | 120V, 50/60Hz, 170W |
| --- | --- | --- |

| UP704 | 120V, 50/60Hz, 3A | 120V, 50/60Hz, 250W |
| --- | --- | --- |

| UP706 | 120V, 50/60Hz, 7A | 120V, 50/60Hz, 400W |
| --- | --- | --- |

| UP709 | 120V, 50/60Hz, 12A | 120V, 50/60Hz, 630W |
| --- | --- | --- |

| UP7125 | 120V, 50/60Hz, 12A | 120V, 50/60Hz, 900W |
| --- | --- | --- |

- Model 'Network Power Cell', input rated 120V, 50/60Hz, 7A; output rated 120V, 50/60Hz, 400W.

| Model | Input | Output |
| --- | --- | --- |

| SMART-UPS 600XL, 600XLRM | 120V, 50/60Hz, 10.5A | 120V, 50/60Hz, 400W |
| --- | --- | --- |

| SMART-UPS 2000, 2000RM, -X55 | 120V, 50/60Hz, 20A/16A/12A | 120V, 50/60Hz, 1500W, 2000VA 1500W, 1500VA; 1000W, 100VA |
| --- | --- | --- |

| SMART-UPS 2000XL | 120V, 50/60Hz, 20A/ 16A/12A | 120V, 50/60Hz, 1500W, 2000VA 1500W, 1500VA; 1000W, 1000VA |
| --- | --- | --- |

| SMART-UPS 2000XL-1, -2, -4 | 120V, 50/60Hz, 16A | 120V, 50/60Hz, 1500W, 1500VA |
| --- | --- | --- |

| Personal PowerCell | 120V, 50/60Hz, 3A | 120V, 50/60Hz, 170W |
| --- | --- | --- |

| Professional PowerCell | 120V, 50/60Hz, 3A | 120V, 50/60Hz, 250W |
| --- | --- | --- |

| BF250 | 120V, 60Hz, 12A | UPS outlets: 120V, 2A, 150W Surge outlets: 120V, 12A Total output: 12A |
| --- | --- | --- |

| BF250J | 100V, 60Hz, 12A | UPS outlets: 100V ac, 60Hz, 150W, 250 VA Surge outlets: 100V ac, 60Hz, 12A Total output: 12A |
| --- | --- | --- |
| BE250J | 100V, 7A | UPS outputs: 100V, 150W, 60Hz, 250VA Surge outlets: 100V ac, 7A Total Output Current: 7A |
| EasyOPTIONS 600 | 120V, 50/60Hz, 3A | 120V, 50/60Hz, 170W |

| EasyOPTIONS 601 | 120V, 50/60Hz, 5A | 120V, 50/60Hz, 250W |
| --- | --- | --- |

| EasyOPTIONS 602 | 120V, 50/60Hz, 7A | 120V, 50/60Hz, 400W |
| --- | --- | --- |

| Smart-Ups 2000XL-X77 | 120V, 50/60Hz, 12A | 120V, 50/60Hz, 1200W, 1200VA |
| --- | --- | --- |

| Matrix 5000 | 208/240V, 60Hz, 24A | 120/208V, 60Hz, 3.75kW, 5kVA for 240V, 4.7kVA for 208V |
| --- | --- | --- |

| Matrix 5000W | 208/240V, 50/60Hz, 20A | 120/208V, 50/60Hz, 3.75kW, 5kVA for 240V, 4.7kVA for 208V |
| --- | --- | --- |

| Matrix 3000 | 208/240V, 60Hz, 20A | 120/208V, 60Hz, 2.25kW, 3kVA |
| --- | --- | --- |

| Matrix 3000W | 208/240V, 50/60Hz, 20A | 120/208V, 50/60Hz, 2.25kW, 3kVA |
| --- | --- | --- |

| Smart-Ups 1000, 1000RM 1000XL and 1000XLRM, SU1000RMUS, SU1000RMBX120, SU1000RMXLBX120, SU1000NET, SU1000RMNET, SU1000XLNET, SU1000RM2U, SUA1000, SUA1000X127, SUA1000X61, SUA1000X93, SUA1000X219 SU1000R2BX120, | 120V, 50/60Hz, 12A | 120, 50/60Hz, 670W |
| --- | --- | --- |

| Smart-Ups 1400, DL 1400 1400RM, SU1400RMUS, SU1400RMBX120, SU1400NET, SU1400RMNET, SU1400RM2U, SU1400R2X217, DL1400RM2U, SU1400R2BX135 SU1400RM2UX93, SU1400R2BX120 | 120V, 50/60Hz, 12A | 120V, 50/60Hz, 950W |
| --- | --- | --- |

| Smart-Ups 700RM, SU700RMUS, SU700RMBX120, 700XL and 700XLRM, SU700XLNET, SU700NET, SU700RMXLBX120, SU700RM2U, SU700R2BX120 | 120V, 50/60Hz, 12A | 120V, 50/60Hz, 450W |
| --- | --- | --- |

| Smart-Ups-Ups 400, | 120V, 50/60Hz, 7A | 120V, 50/60Hz, 280W,3.75A |
| --- | --- | --- |

| Smart-Ups 700, DL 700 | 120V, 50/60Hz, 7A | 120V, 50/60Hz, 450W, 5.8A |
| --- | --- | --- |

| BP280S, BP280SC, BP280SUS | 120V, 60Hz, 7A | 120V, 60Hz, 180W |
| --- | --- | --- |

| BP420S, BP420SC, BP420SUS SU v/s 420S | 120V, 60Hz, 7A | 120V, 60Hz, 260W |
| --- | --- | --- |

| BP650S, BP650SC, BP650SUS SU v/s 650S | 120V, 60Hz, 7A | 120V, 60Hz, or 410W |
| --- | --- | --- |

| SmartUPS 2200, 2200XL,3000, 2200RM, SU2200NET, SU2200RMNET, SU2200XLNET | 120V, 50/60Hz | 120V, 50/60Hz |
| --- | --- | --- |

| SU2200R3BX120 and 3000RM SU3000R3BX120 SU3000NET, SU3000RMNET | 21/24/28A max | 2200/2200/3000VA max 1600/1600/2250W max |
| --- | --- | --- |

| BackUPS PRO 1000 and SmartUPS v/s 1000 | 120V, 60Hz, 12A | 120V, 50-60Hz, 670W |
| --- | --- | --- |

| BP1100 | 120V, 60Hz, 12A | 120V, 60Hz, 670W, 1100VA |
| --- | --- | --- |
| BackUPS PRO 1400 and SmartUPS v/s 1400 | 120V, 60Hz, 12A | 120V, 50-60Hz, 950W |

| Smart-UPS700I-X38 | 240V, 50/60Hz, 4A | 240V, 50/60Hz, 3.2A, 450W |
| --- | --- | --- |

| Smart-UPS450I-X38 | 240V, 50/60Hz, 4A | 240V, 50/60Hz, 2.0A, 280W |
| --- | --- | --- |

| Smart-UPS1400XLT and Smart-UPS 1400RMXLT, SU1400RMXL3U, SU1400RMXL3UX171 | 208V, 50/60Hz, 10A | 208V, 50/60Hz, 950W, 1400VA |
| --- | --- | --- |

| Smart-UPS 2200XLT and Smart-UPS 2200RMXLT | 208V, 50/60Hz, 12A | 208V, 50/60Hz, 1600W, 2200VA |
| --- | --- | --- |

| Smart-UPS 3000T and Smart-UPS 3000TX109 | 208V, 50/60Hz, 14A | 208V, 50/60Hz, 2250W, 3000VA |
| --- | --- | --- |

| SU1400RMXLNET | 120V, 60Hz, 10A | 120V, 60Hz, 950W, 1400VA,11.6A |
| --- | --- | --- |

| SU1400RMXLTNET | 208V, 60Hz, 10A | 120V, 60Hz, 400W, 400VA, 3.3A 208V, 60Hz, 950W, 1400VA, 6.7A |
| --- | --- | --- |

| SU1400XLTNET | 208V, 60Hz, 10A | 208V, 60Hz, 950W, 1400VA, 6.7A 120V, 60Hz, 400W, 400VA, 3.3A |
| --- | --- | --- |

| SU2200XLTNET | 208V, 60Hz, 14A | 208V, 60Hz, 1600W,2200VA, 10.5A 120V, 60Hz, 400W, 400VA, 3.3A |
| --- | --- | --- |

| SU2200RMXLTNET | 208V, 60Hz, 14A | 208V, 60Hz, 1600W,2200VA, 10.5A 120V, 60Hz, 400W, 400VA, 3.3A |
| --- | --- | --- |

| SU3000TNET | 208V, 60Hz, 16A | 208V, 60Hz, 2250W, 3000VA, 14.4A 120V, 60Hz, 400W, 4O0VA, 3.3A |
| --- | --- | --- |

| SU3000TX109 | 208V, 60Hz, 16A | 208V, 60Hz, 2250W,2200VA, 10.5A |
| --- | --- | --- |

| SU2200RM3U | 120V, 60Hz, 21A | 120V, 60Hz, 1600W,2200VA, 18.3A |
| --- | --- | --- |

| SU3000RM3U | 120V, 60Hz, 28A | 120V, 60HZ, 2250W,3000VA, 25A |
| --- | --- | --- |
| SU3000RMXL3U | 120V, 60Hz, 24A | 120V, 60Hz, 2200W, 2200VA, 18.3A |

| SU3000RMT3U | 208V, 60Hz, 28A | 208V, 60Hz, 2250W,3000VA, 14.4A 120V, 60Hz, 400W, 400VA, 3.3A |
| --- | --- | --- |

| NS2200RM3U or APC2RA | 120V, 60Hz, 21A | 120V, 60Hz, 1600W,2200VA, 18.3A |
| --- | --- | --- |

| NS3000RM3U or APC3RA | 120V, 60Hz, 28A | 120V, 60Hz, 2250W,3000VA, 25A |
| --- | --- | --- |

| NS3000RMT3U or APC3TA | 208V, 60Hz, 28A | 208V, 60Hz, 2250W,3000VA, 14.4A 120V, 60Hz, 400W, 400VA, 3.3A |
| --- | --- | --- |

| SYMINIF, SYMINIF-PD | 208/240V, 50-60Hz, 1ph 10A | 120/208/240V, 50-60Hz, 1ph, 40A, 8kVA, 5.6kW |
| --- | --- | --- |

| SYMSTRF, SYMSTRF-PD | 208/240V, 50-60Hz, 1ph 80A | 120/208/240V, 50-60Hz, 80A, 16kVA, 11.2kW |
| --- | --- | --- |

| BK300 with suffix C | 120V, 60Hz, 300VA | 120V, 60Hz, 300VA |
| --- | --- | --- |

| BK500M/MUS with suffix C | 120V, 60Hz, 500VA | 120V, 60Hz, 500VA |
| --- | --- | --- |

| BK650M/MUS with suffix C | 120V, 69Hz, 650VA | 120V, 60Hz, 650VA |
| --- | --- | --- |

| BP280S | 120V, 60Hz, 280VA | 120V, 60Hz, 280VA |
| --- | --- | --- |

| BP420S | 120V, 60Hz, 420VA | 120V, 60Hz, 420VA |
| --- | --- | --- |

| SU420NET | 120V, 60Hz, 420VA | 120V, 60Hz, 420VA |
| --- | --- | --- |

| SU620NET | 120V, 60Hz, 620VA | 120V, 60Hz, 620VA |
| --- | --- | --- |
| SU620INET | 230V, 60Hz, 620VA | 230V, 60Hz, 390W, 2.8A |
| BP350U | 120V, 50-60Hz, 12A | 120V, 50-60Hz, 350VA; 220W(Battery) |
| BP500U | 120V, 50-60Hz, 12A | 120V, 50-60Hz, 500VA; 315W(Battery) |
| BP700X | 120V, 60Hz, 12A | 120V, 60Hz, 12A; UPS 120VAC, 60Hz, 410W, 700VA |

- UPS hot swap-out box, Model AP019, cord connected, input/output, rated 120V, 50/60Hz, 12A. Certified as an accessory for use with the manufacturer's line of Certified UPS's.

- Line isolation transformer assembly, cord connected, Model AP017, input rated 115V ac, 11A; output rated 115V ac, 11A, 1250VA, 50/60Hz max.

- Line regulators Models Line-R600 and Line-R1250, input rated 120V, 50/60Hz, 7/12A, output rated 120V, 50/60Hz, 600/1250VA respectively.

- External battery packs, Models SU24XLBP, 1 x 114, SU48XLBP, 1 x 114 and SU48BP, SU24RMXLBP2U, SU48RMXLBP, rated  24V dc, 48V dc and 48V dc respectively.

- UPS Component Model SYPM rated 200-240V ac, 50-60Hz, 20A input; 200/220/230/240V ac, 50-60Hz, 4kVA, 2.8kW, 20A output. ACCESSORIES FOR USE WITH 'MATRIX' SERIES UPS UNITS:

- Series MXA100 to MXA199, miscellaneous extension cord sets, power distribution units, 240V ac, 30A max, 60Hz, 3 or 4 wire.

- Hard-wire kit accessory, Models MXZ001 and MXA002.

- Battery Cabinets Models SYXR4, SYXR4J-BM and SYXR12 rated 120Vdc, 7.0AH per module; Accessories for use with "MATRIX SERIES" UPS units.

| Model | Input | Output |
| --- | --- | --- |
| BF400, BF400C | 120V, 60Hz, 10A | Surge: 120V, 60Hz, 10A UPS 120V, 60Hz, 3A, 250W, 400VA, 10A total outputs. |
| BF350, BF350BB, BF350U | 120V, 60Hz, 10A | Surge: 120V, 60Hz, 10A UPS: 120V, 60Hz, 225W, 350VA. |
| BF500, BF500BB, BF500U | 120V, 60Hz, 10A | Surge: 120V, 60Hz, 10A UPS: 120V, 60Hz, 325W, 500VA. |
| SU5000, SU5000R5TX168, SU50000RMT5U, SU5000R5TBX120, SU50000R5TBX135, SU5000R5TBX114 and DL50000RMT5U | 208V, 60Hz, 24A | 208V, 60Hz, 5000VA, 3750W |

| Power Stack 250 | 120V, 60Hz, 7A | 120V, 60Hz, 165W |
| --- | --- | --- |
| Power Stack 450 | 120V, 60Hz, 7A | 120V, 60Hz, 280W |
| Bay Stack 450 | 120V, 60Hz, 7A | 120V, 60Hz, 280W |
| CNB700X | 120V, 60Hz, 12A | Surge: 120V, 60Hz, 12A 120V, 60Hz, 410W, 700VA |
| CNB900X | 120V, 60Hz, 12A | Surge: 120V, 60Hz, 12A 120V, 60Hz, 500W, 900VA |
| SUA1500, DLA 1500, SUA1500X219, SUA1500X106, SUA1500X145, SUA1500X61, SUA1500X93, SUA1500X99 SUA1500X180 | 120V, 50/60Hz, 12A | 120V, 50/60Hz, 980W, 1400VA |

- *Model Smart-UPS 700XLX114, 1400X114, 2200XLX114.

- *Model Smart-UPS 700BX120, 1000BX120, 1400BX120, 2200BX120, 2200R3BX120, 3000BX120, 3000R3BX120.

- *Model Smart-UPS 1400RMBX135, 3000R3BX135.

- *Model Smart-UPS 1400RMX138.

- *Model Smart-450NET, 700NET, 700RMNET, 700XLNET, 1000NET, 1000RMNET, 1000XLNET, 1400NET, 1400RMNET, 1400RMXLNET, 1400XLTNET, 1400RMXLTNET, 2200NET, 2200RMNET, 2200XLNET, 2200RMXLNET, 2200XLTNET, 2200RMXLTNET, 3000NET, 3000RMNET, 3000TNET.

- Model Smart-UPS beginning with prefixes; NS, DL, DIG, UNS, DGS, (prefix options NS = Hewlet Packard, DL = Dell Computer, DIG = Digital Corp., UNS = Unisys, DGS = Data General),; DGS1000, DGS1400, DIG1400RM, DIG3000RM3U, DL1400RM, DL2200RM3U, DL3000RM3U, NS2200RM3U, NS3000RM3U, NS3000RMT3U.

- *Model Smart-UPS SU027, SU028, SU029, SU027RM, SU028RM, SU029RM, SU029RM3U.

- Series Symmetra-RM, Models SYHF6KT, SYH2K6RMT, SYH4K6RMT, SYH6K6RMT, SYPF12KT, SY4K12RMT, SY8K12RMT, SY12K12RMT and SYRMXR4.

- External Battery pack Model SU48RMXLBP3U, rated 48V dc, 18Ah; for use with UPS Model SU300RMXL3U.

INVERTER FOR USE IN VEHICLES

- Model PNote AC75 rated 13.5V dc, PA input; 120V ac, 60Hz, 75W output.

/ky